WATERPROOF LED POWER SUPPLY

INSTALLATION GUIDE

| Model | Input Voltage | Input Current | PF | Output Voltage | Power (max) | Protections | Dimension (mm) | Price list |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | （L×W×H） | (USD) |
| LPH12-025 | AC 100-240V 50/60Hz | 0.34A | 0.9 | DC12V | 25W | Short circuit Protections、 overload Protections、 over volatge Protections | 160×49.5×32.5 | $15 |
| LPH12-060 | AC 100-240V 50/60Hz | 0.83A | 0.9 | DC12V | 60W |  | 245×49.5×32.5 | $21.8 |
| LPH12-100 | AC 100-240V 50/60Hz | 1.34A | 0.9 | DC12V | 100W |  | 245×49.5×32.5 | $24 |
| LPH24-025 | AC 100-240V 50/60Hz | 0.34A | 0.9 | DC24V | 25W |  | 160×49.5×32.5 | $15 |
| LPH24-060 | AC 100-240V 50/60Hz | 0.83A | 0.9 | DC24V | 60W |  | 245×49.5×32.5 | $21.8 |
| LPH24-100 | AC 100-240V 50/60Hz | 1.34A | 0.9 | DC24V | 100W |  | 245×49.5×32.5 | $24 |

A．Specifications：

B．Features：

- Protections: short circuit protection, overload protection, over volatge protection；

- Universal AC input/Full range/High power factor；

3.  Power supplies can be used in dry, damp and wet locations;

4.  Suitable for LED lighting and moving sign applications.

C．Installing the power supply：

installation diagrams

- Insure the input and output service wires are connected properly and are not reversed.

- The waterproof LED power supply should have a good ground.

- Securely mount the power supply on the metallic surface, free airflow should be ensured to provide adequate ventilation.

- Service and/or installation should only be performed by qualified personnel.

Separate collection for electrical and electronic equipment.